## Slide 1
Rowe Technologies, Inc.
Doppler Pinging The World’s Waters
sales@rowetechinc.com
www.rowetechinc.com
This presentation contains CONFIDENTIAL INFORMATION proprietary to RoweTech. By reviewing the content of this presentation, you agree to keep the information presented herein confidential and to not use any CONFIDENTIAL INFORMATION for any purpose except to evaluate and engage in discussions concerning a potential business relationship with RoweTech.
1
Rowe Technologies 300 kHz SeaWATCH,
Rowe Technologies Long Range 300 kHz SeaWATCH,
and Teledyne 300 kHz Sentinel data comparison
Tech Note 002

## Slide 2: Rowe Technologies, Inc.
SeaWATCH 300 kHz To Teledyne Sentinel 300 kHz Comparison
Compare the performance of a Rowe Tech SeaWATCH 300 kHz to the Teledyne Sentinel 300 kHz in shallow and deep water.
Demonstrate increased range of Rowe Tech long range 300 kHz SeaWATCH compared to standard 300 kHz ADCP’s in deep water.
Goals
Systems
SeaWATCH 300
SeaWATCH 300 5”
Sentinel 300

## Slide 3: Rowe Technologies, Inc.
Deep water location: Japan, Tateyama Bay
Tateyama Bay
Deployment dates: 2016.8.1 – 2016.15.1
Deployed by: SEA Corporation Chiba Prefecture Tokyo Japan
SeaWATCH 5” 300
N35° 12' 27.4”
E139° 27' 29.3”
Depth: 200 m
SeaWATCH 3” 300
N35° 12' 20.5”
E139° 27' 43.5”
Depth: 175 m
Sentinel 300
N35° 10' 46.6”
E139° 27' 25.9”
Depth 175 m
1 km

## Slide 4: Rowe Technologies, Inc.
Separation: 6 meters
Shallow water location: Busan, South Korea
New Busan port
Deployment dates: 2016.22.2 – 2016.27.2
Deployed by: Oceantech, Gyeonggi-do South Korea
SeaWATCH 300
N35° 15' 32.4"”
128° 27' 27.7"
TRBM Depth: 18 m
Sentinel 300
35° 15' 33.1"
E 128° 27' 27.8"
TRBM Depth 18 m

## Slide 5: Rowe Technologies, Inc.
Mooring Schematic
SeaWATCH 300 5”
Sentinel 300
SeaWATCH 300
Typical Trawl Resistant Bottom Mount (TRBM)
Photo courtesy Deep Ocean Buoyancy
Deep Water
Shallow Water

## Slide 6
Deep Water SYSTEM SETTINGS
Parameter | Teledyne 300 | Rowe Tech 3” | Rowe Tech 5”
System Frequency | 307.2 kHz | 311.3 kHz | 311.3 kHz
Firmware Version | 50.40 | 0.2.81 - 4 | 0.2.81 – 4
Beam Angle | 20 Degrees | 20 Degrees | 20 Degrees
False Target(WA) | 50 counts | n/a | n/a
Bandwidth (WB) | 25% | 8.33% | 8.33%
Cor. Threshold (WC) | 64 counts | 50 counts | 50 counts
Blank (WF) | 1.76 m | 1.6 m | 1.6 m
Mode (WM) | 1 | 1 | 1
Pings/Ens (WP) | 60 | 60 | 60
Bin Size (WS) | 4.00 m | 4.00 m | 4.00 m
Time/Ping (TP) | 00:01.00 | 00:01.00 | 00:01.00
Hardware | 4 Beams | 4 Beams | 4 Beams
Lag | 53 elements | 28 elements | 28 elements
Code Reps. | 9 | 5 | 5
Lag Length | 0.48 m | 0.98 | 0.98
Xmt Length | 4.28 m | 4.9 m | 4.9 m
1st Bin | 6.14 m | 6.05 m | 6.05 m
Orientation | UP | UP | UP
All systems were programmed identically
Ping times were offset to prevent interference.
6 minute ensembles, 60 pings, 1Hz ping rate.
Four meter bins.
3” systems deployed on common depth gradient line.
Deployed 25 meters off the bottom.
Default screening thresholds were used.
Rowe Technologies, Inc.

## Slide 7
Shallow Water SYSTEM SETTINGS
Parameter | Teledyne Sentinel 300 | Rowe Tech SeaWATCH 300
System Frequency | 307.2 kHz | 288.3 kHz
Firmware Version | 50.40 | 0.2.81 - 4
Beam Angle | 20 Degrees | 20 Degrees
False Target(WA) | 50 counts | n/a
Bandwidth (WB) | 25% | 8.33%
Cor. Thres. (WC) | 64 counts | 50 counts
Blank (WF) | 1.76 m | 1.6 m
Mode (WM) | 1 | 1
Pings/Ens (WP) | 60 | 60
Bin Size (WS) | 1.00 m | 1.00 m
Time/Ping (TP) | 00:01.00 | 00:01.00
Hardware | 4 Beams | 4 Beams
Lag | 53 elements | 28 elements
Code Reps. | 7 | 5
Lag Length | 0.16 m | 0.24
Xmt Length | 1.12 m | 1.2 m
1st Bin | 3.21 | 3.04 m
Orientation | UP | UP
Both systems were programmed identically
Ping times were offset to prevent interference.
10 minute ensembles, 60 pings, 1Hz ping rate.
One meter bins.
Both systems deployed on common depth gradient line.
Deployed in a trawl resistant bottom mount.
Default screening thresholds were used.
Rowe Technologies, Inc.

## Slide 8: Rowe Technologies, Inc.
Deep Water Magnitude
Velocity Magnitude
SeaWATCH 300
Sentinel 300
Velocity magnitude of each system shows same magnitude structure, spatially and temporally.
The Sentinel system suffered from low echo intensity causing decorrelation of the data.

## Slide 9: Rowe Technologies, Inc.
Deep Water Direction
Direction
SeaWATCH 300
Sentinel 300
Direction contours of each system shows same direction structure, spatially and temporally.
Both systems measure the direction changes of the semidiurnal tides exhibited in this region.

## Slide 10: Rowe Technologies, Inc.
Deep Water East Velocity
East Velocity
SeaWATCH 300
Sentinel 300
East Velocity vector contour of each system shows same velocity structure, spatially and temporally.

## Slide 11: Rowe Technologies, Inc.
Deep Water North Velocity
North Velocity
SeaWATCH 300
Sentinel 300
North Velocity vector contour of each system shows same velocity structure, spatially and temporally.
Both systems show the main component of the tides are in the Northerly direction.

## Slide 12: Rowe Technologies, Inc.
Deep Water Vertical Velocity
Vertical Velocity
SeaWATCH 300
Sentinel 300
Vertical Velocity vector contour of each system shows same velocity structure spatially and temporally.
Both systems show the same structure of the upwelling and down-welling.

## Slide 13: Rowe Technologies, Inc.
Deep Water Error Velocity
Error Velocity
SeaWATCH 300
Sentinel 300
Error Velocity contour plot of each system shows same indications of homogenous flows, typical of ocean deployments. Centered on zero with equal distribution of the highs/lows (red/blue).

## Slide 14: Rowe Technologies, Inc.
Deep Water Correlation
Correlation
SeaWATCH 300
Sentinel 300
Correlation of each system is nearly identical.
The Sentinel 300 has regions where the ping return de-correlated due to lower signal to noise ratio. Data in this region is marked bad and is not recoverable.

## Slide 15: Rowe Technologies, Inc.
Deep Water Echo Intensity
Echo Intensity
SeaWATCH 300
Sentinel 300
Echo intensity shows the same structure in each system.
Diurnal migration of the backscatter indicates the return is off biological material, typically plankton, that come to the surface during night when lower visibility protects them from predators.
Long cycle interference terms are seen by both systems. Origins of these are unknown.
Night
Night
Night
Night
Night
Night
Day
Day
Day
Day

## Slide 16: Rowe Technologies, Inc.
Shallow water Stick Vector Plots
Stick vector Plots
Stick Vector Plots show a comparison time series at four individual depths. Data is consistent system to system showing that both systems are making the identical measurements in direction and magnitude. Tidal action is demonstrated by both data sets.

## Slide 17: Rowe Technologies, Inc.
Shallow Water Data: 3 meters
Scatter plot of speed and direction.
Time series of speed and direction.
Overlaid Speed and direction time series plots show a direct comparison at an individual depth. In these plots it can be observed that the systems are very close in the measurements to be considered brother and sister data points. Data is consistent system to system, and depth to depth. in direction and magnitude. Tidal action is demonstrated by both data sets.

## Slide 18: Rowe Technologies, Inc.
Scatter plot of speed and direction.
Time series of speed and direction.
Shallow Water Data: 5 meters

## Slide 19: Rowe Technologies, Inc.
Scatter plot of speed and direction.
Time series of speed and direction.
Shallow Water Data: 10 meters

## Slide 20: Rowe Technologies, Inc.
Scatter plot of speed and direction.
Time series of speed and direction.
Shallow Water data: 14 meters

## Slide 21: Rowe Technologies, Inc.
Part I Conclusions
300 kHz, 3” transducer
Conclusions:
The data analysis shows that the RoweTech SeaWATCH 300 and the Teledyne Sentinel 300 both make the same measurement under identical conditions in deep and shallow water. The RoweTech system shows an overall higher signal to noise return than the Sentinel. This contributes to increased range in normal conditions, or better sensitivity in regions or times when there is less backscatter.
RoweTech SeaWATCH 300
Teledyne Sentinel 300
Echo Intensity
Magnitude
Direction
Velocity East
Velocity North
Vertical Velocity
Error Velocity
Correlation

## Slide 22: Rowe Technologies, Inc.
Part II: 300 kHz Long Range SeaWATCH Compared To Standard 300 kHz ADCP’s
Demonstrate increased range of Rowe Tech long range 300 kHz SeaWATCH compared to a standard 300 kHz ADCP in deep water
Goal
Systems
SeaWATCH 300
SeaWATCH 300 5”
Sentinel 300

## Slide 23: Rowe Technologies, Inc.
Data Comparison: 300-5” To 300-3”; Magnitude
Magnitude
SeaWATCH Long Range 300 kHz
SeaWATCH 300

## Slide 24: Rowe Technologies, Inc.
Data Comparison: 300-5” To 300-3”; Direction
Direction
SeaWATCH Long Range 300 kHz
SeaWATCH 300

## Slide 25: Rowe Technologies, Inc.
Data Comparison: 300-5” To 300-3”; East Velocity
East Velocity
SeaWATCH Long Range 300 kHz
SeaWATCH 300

## Slide 26
Data Comparison: 300-5” to 300-3”; North Velocity
North Velocity
Rowe Technologies, Inc.
SeaWATCH Long Range 300 kHz
SeaWATCH 300

## Slide 27
Data Comparison: 300 5” to 300 3”;
Vertical Velocity
Rowe Technologies, Inc.
SeaWATCH Long Range 300 kHz
SeaWATCH 300

## Slide 28
Data Comparison: 300-5” to 300-3”; Error Velocity
Error Velocity
Rowe Technologies, Inc.
SeaWATCH Long Range 300 kHz
SeaWATCH 300

## Slide 29
Data Comparison: 300-5” to 300-3”; Correlation
Correlation
Rowe Technologies, Inc.
SeaWATCH Long Range 300 kHz
SeaWATCH 300

## Slide 30
Data Comparison: 300-5” to 300-3”; Echo Intensity
Echo Intensity
Rowe Technologies, Inc.
SeaWATCH Long Range 300 kHz
SeaWATCH 300

## Slide 31
Data Comparison: SeaWATCH 300-5” to Standard 3” ADCP’s
SeaWATCH 300
Rowe Technologies, Inc.
Long Range SeaWATCH 300
Echo Intensity
Magnitude
Direction
Velocity East
Velocity North
Vertical Velocity
Error Velocity
Correlation
Sentinel 300

## Slide 32
Data Comparison: 300-5” to 300-3”; Echo Intensity
Rowe Technologies, Inc.
SeaWATCH
Long Range 300
SeaWATCH 300
Sentinel 300
SeaWATCH
Long Range 300
SeaWATCH 300
Sentinel 300
300 kHz, 5” and 3” Xducer Conclusions:
The data analysis shows that the SeaWATCH 300 long range ADCP gives superior range to the standard versions. This system was moored at 175 meters and we would expect range in Broadband mode to exceed 200 meters and in narrowband mode to exceed 230 meters when deployed in similar conditions to this test. Both versions can make the same measurement in deep and shallow water. The RoweTech systems show an overall higher signal to noise return than the Sentinel. This contributes to increased range in normal conditions, or better sensitivity in regions or times when there is less backscatter.